## Slide 1
Aung Myin Kyaw (Max) weekly Research Progress Report
Date : 01/09/2018 to 14/09/2018
Scope of the work:
  Programming own application for CS100 spectrometer

## Slide 2
Research Progress in last week
  Continuity of last week research on different functions of the Thorlabs functions provided
Research Plan for next week
  Understanding the remaining functions and testing out different purposes.
  Writing of the research report for the raman spectrometer

## Slide 3
Research Progress in last week
  - tlccs_getWavelengthData
  CCS100.getWavelengthData(0, wavelength_Data, out min_Wave, out max_Wave);
  Purpose - This function returns data for the pixel-wavelength correlation.
  The maximum and the minimum wavelength are additionally provided in two separate return values.
  Note:
  If you do not need either of these values you may pass NULL.
  The value returned in Wavelength_Data_Array[0] is the wavelength at pixel 1, this is also the minimum wavelength, the value returned in Wavelength_Data_Array[1] is the wavelength at pixel 2 and so on until Wavelength_Data_Array[CCS_SERIES_NUM_PIXELS-1] which provides the wavelength at pixel CCS_SERIES_NUM_PIXELS (3648). This is the maximum wavelength.

## Slide 4
Research Progress in last week
  The problem I faced with this function is that explanation of the function was not very clear. However, I am able to find the max and min wavelength that can be measured using the spectrometer.
  Also through this function I found out that measuring the spectrometer uses a 1D CCD. Each pixel corresponding to the different wavelength.
  http://bwtek.com/spectrometer-introduction/
  Through reading this website, it gives me better understanding on how different spectrometer works.